This text is the supplement of ED model based on DC OPF, including the objective functions, constraints, and parameter settings. The complete model is as follow:

Nomenclature of ED Model

| Symbol | Definition |
| --- | --- |
| Sets |  |
|  | Set of generation units. |
|  | Set of buses. |
|  | Set of transmission lines. |
|  | Set of generation units at bus i. |
|  | Set of hours. |
| Variables |  |
|  | Power output of generation unit g at time t. |
|  | Power flow on line l at time t. |
|  | Power out of solar PV and wind generation unit g at time t. |
|  | Status of generation unit g at time t. |
|  | Start-up/shut-up transition of generation unit g at time t. |
|  | Backup capacity requirement at time t. |
|  | State of charge (SOC) of storage unit g. |
|  | Load shedding in bus i at time t. |
|  | Charging and discharging power of storage unit g. |
| Parameters |  |
|  | Start-up/shut-up costs of generation unit g |
|  | Transmission price of line l. |
|  | Load shedding prices. |
|  | Backup prices. |
|  | Load of bus i at time t. |
|  | Generation shift factor of power injection at bus i on line l. |
|  | Lower and upper bounds of power output of generation unit g. |
|  | Transmission capacity of line l. |
|  | Hourly ramp up/down rate of generation unit g. |
|  | Minimum on/off periods of generation unit g. |
|  | Charging and discharging efficiency of storage unit g. |
|  | Maximum energy capacity of storage unit g. |

The objective function in (1) aims to minimize the total system operation costs, including operating costs, transmission costs, load shedding costs, and backup costs. The power balance constraints are shown in (2). Constraint (3) represents the power output limits of generation units. Constraints (4)-(5) limits the power flow on transmission lines. Constraint (6) restricts the temporal shifts in generation to within ramping capabilities. Constraint (7) represents the limits of the minimum up and down times of the thermal power generation units. Constraint (8) defines the status of generation units. Constraint (9) describes the requirement of backup capacity. Constraint (10)-(11) limits the SOC of storage units. Constraint (12) limits the charging and discharging power. Constraint (13) ensures that the SOC of storage units are the same at initial time  and final time . The ED model in this paper considers hourly simulations to capture longer-term constraints and seasonal variability.

Parameters in the Economic Dispatch Model

| Parameter | Value |
| --- | --- |
| Load shedding cost | 10000 $/MW |
| Backup cost | 2.1 $/MW |
| Minimum hydropower output factor | 0.5 |
| Nuclear power output range factor | 0.7~0.95 |
| Load backup factor | 0.05 |
| Power output backup factor of wind and solar PV | 0.03 |
| Storage initial and final states | 0.6/0.6 |
| Storage charge and discharge power factor | 0.9/0.9 |
| Storage power-to-energy ratio | 1:2 |